区分：携帯発電機

型式の区分

Type Classification

Classification：Portable engine generators

電気用品名：携帯発電機

Name of Electrical Appliance：Portable engine generators

該当する要素及び区分を御選び下さい。　Please choose applicable Factor and Classification.

| 要 素Factor | 区 分Classification |
| --- | --- |
| ➀ 相 Phase | (1) 単相のもの Single phase |
|  | (2) ３相のもの Three phase |
| ➁ 定格電圧 Rated voltage | (1) 125Ｖ以下のもの 125V or less |
|  | (2) 125Ｖを超えるもの Exceeding 125V |
| ➂ 定格出力（交流のものの場合に限る。） Rated output (limited to alternating current type) | (1) 100VA以下のもの 100VA or less |
|  | (2) 100VAを超え200VA以下のもの Exceeding 100VA, and less than or equal to 200VA |
|  | (3) 200VAを超え300VA以下のもの Exceeding 200VA, and less than or equal to 300VA |
|  | (4) 300VAを超え400VA以下のもの Exceeding 300VA, and less than or equal to 400VA |
|  | (5) 400VAを超え500VA以下のもの Exceeding 400VA, and less than or equal to 500VA |
|  | (6) 500VAを超え600VA以下のもの Exceeding 500VA, and less than or equal to 600VA |
|  | (7) 600VAを超え700VA以下のもの Exceeding 600VA, and less than or equal to 700VA |
|  | (8) 700VAを超え800VA以下のもの Exceeding 700VA, and less than or equal to 800VA |
|  | (9) 800VAを超え900VA以下のもの Exceeding 800VA, and less than or equal to 900VA |
|  | (10) 900VAを超え１kVA以下のもの Exceeding 900VA, and less than or equal to 1kVA |
|  | (11) １kVAを超え２kVA以下のもの Exceeding 1kVA, and less than or equal to 2kVA |
|  | (12) ２kVAを超えるもの Exceeding 2kVA |
| ④ 定格出力（直流のものの場合に限る。） Rated output (limited to direct current type) | (1) 100Ｗ以下のもの 100W or less |
|  | (2) 100Ｗを超え200Ｗ以下のもの Exceeding 100W, and less than or equal to 200W |
|  | (3) 200Ｗを超え300Ｗ以下のもの Exceeding 200W, and less than or equal to 300W |
|  | (4) 300Ｗを超え400Ｗ以下のもの Exceeding 300W, and less than or equal to 400W |
|  | (5) 400Ｗを超え500Ｗ以下のもの Exceeding 400W, and less than or equal to 500W |
|  | (6) 500Ｗを超え600Ｗ以下のもの Exceeding 500W, and less than or equal to 600W |
|  | (7) 600Ｗを超え700Ｗ以下のもの Exceeding 600W, and less than or equal to 700W |
|  | (8) 700Ｗを超え800Ｗ以下のもの Exceeding 700W, and less than or equal to 800W |
|  | (9) 800Ｗを超え900Ｗ以下のもの Exceeding 800W, and less than or equal to 900W |
|  | (10) 900Ｗを超え１kW以下のもの Exceeding 900W, and less than or equal to 1kW |
|  | (11) １kWを超え２kW以下のもの Exceeding 1kW, and less than or equal to 2kW |
|  | (12) ２kWを超えるもの Exceeding 2kW |
| ➄ 発電機の種類 Type of generator | (1) 交流発電機のもの Alternating current generator |
|  | (2) 直流発電機のもの Direct current generator |
| ➅ 出力の種類 Type of output | (1) 交流のもの A.C. output |
|  | (2) 直流のもの D.C. output |
| ➆ 定格出力周波数（出力の種類が交流のものの場合に限る。） Rated output frequency (limited to those with alternating current output) | (1) 50Hzのもの 50 Hz |
|  | (2) 60Hzのもの 60 Hz |
|  | (3) その他のもの Others |
| ➇ 巻線の絶縁の種類 Winding insulation class | (1) Ａ種のもの Class A |
|  | (2) Ｅ種のもの Class E |
|  | (3) Ｂ種のもの Class B |
|  | (4) Ｆ種のもの Class F |
|  | (5) Ｈ種のもの Class H |
|  | (6) その他のもの Others |
| ➈ 原動機の種類 Type of engine | (1) 火花点火機関のもの Spark ignition type |
|  | (2) 圧縮点火機関のもの Compression ignition type |
|  | (3) その他のもの Others |